ALU SIMPLE DRY

The Alu Simple Dry electric radiator is using dry inertia technology, via a process of convection a fast and continuous high heat output is achieved.

Product: Electric dry inertia radiator

Pre-installed: Thermostat and 1,2 m insulated cable with plug.

Also supplied: Brackets, screws, plugs, manual and remote control.

Control: Operated via an integrated thermostat with weekly programming and open window detection.

Packaging: Every radiator is sturdily packaged in high-quality cardboard and wrapped in plastic. The radiator’s characteristics are shown on the label: electric power - height – length.

Warranty: 10 years for the radiator and 2 years for the electrical components, as long as the installation instructions have been followed, Stelrad’s warranty conditions have been met and the radiator is installed outside the splash area.

Paint process: All radiators are degreased, phosphated, primed and powder-coated.

Colours: Traffic white or anthracite grey

Conformity: EcoDesign 2018 (EU Regulation 2015/1188)

Technical data: Voltage 230V ~50Hz, IPX4, Class II

Height: 580 mm

Lengths: 600 | 840 | 1.080 mm

Depth: 90 mm

Output: 1.000 | 1.500 | 2.000 W